CT 33 B

Rubidium is not fully separated from Cr and V and other interfering elements. Rb elutes within 1.75-3 ml with tailing. K elutes within 4-7 ml.

Protocol times are approximately:

- Elution time: 16 hours

- Column Preparation: 26 hours

- Total protocol time: 42 hours

CT 33 D

Rubidium is separated from Na, Cr and V. Rb elutes within 2-3 ml. Ta, Cs, Bi and U have overlap with Rb, but previous separation should reduce the amount of Bi and U present.